(Autonomous Batch)

SEMESTER END SUPPLEMENTARY EXAMINATIONS (AR21), SEPT. – 2026

| Degree | B.Tech. | Program | Common to All |
| --- | --- | --- | --- |
| Academic Year | 2026-2027 | Semester | 6th |
| Course Code | 21EE001 | Course Title | Electrical Installations, Safety and Auditing |
| Duration | 3 Hours | Max. Marks | 70 (Seventy) |

SECTION-I                                                                     7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | CO |
| --- | --- | --- | --- |
| a | List any four elements of electrical estimation and costing. | Remember | 1 |
| b | What are labour charges in electrical costing? | Remember | 1 |
| c | List any four electrical hazards. | Remember | 3 |
| d | List any four precautions while working with overhead electrical lines. | Remember | 3 |
| e | Define peak clipping. | Remember | 4 |
| f | What is meant by energy conservation? | Remember | 4 |
| g | Define energy-efficient equipment? Give two examples. | Remember | 6 |

SECTION-II                                                               4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | CO | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Explain the purpose of estimation and costing in electrical installation works. Discuss the various elements of estimation and costing. | Understand | 1 | 8M |
|  |  | (b) |  | Explain the different types of wiring systems used in electrical installations with their advantages and disadvantages. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain the procedure for preparing an estimate for power wiring in a small workshop. | Understand | 1 | 8M |
|  |  | (b) |  | Explain the IE rules for domestic and industrial wiring and discuss their importance in ensuring safe electrical installations. | Understand | 2 | 6M |
| 4 |  | (a) |  | Explain the hazards associated with electricity and discuss the effects of electric current on the human body. | Understand | 3 | 8M |
|  |  | (b) |  | Explain the selection of wiring accessories and protective devices for a domestic electrical installation with suitable examples. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Explain the various safety measures to be followed during an electric shock. Describe the procedure for rescuing a person from electrical contact. |  | Understand | 3 | 8M |
|  |  | (b) | Explain the procedure for designing a domestic wiring installation |  | Understand | 2 | 6M |
| 6 |  | (a) | Explain the concept of Demand Side Management (DSM) and discuss peak clipping, peak shifting and valley filling with suitable examples. |  | Understand | 4 | 8M |
|  |  | (b) | Explain the elements of an energy audit and describe the systematic procedure for conducting an energy audit in an industrial plant. |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Explain the world and Indian energy scenario. Discuss energy consumption trends, energy crisis and the future energy scenario. | Understand | 4 | 8M |
|  |  | (b) |  | Explain the procedure for presentation of energy audit results. | Understand | 5 | 6M |
| 8 |  | (a) |  | Explain the role of measurements and measuring instruments in conducting an energy audit. | Understand | 6 | 8M |
|  |  | (b) |  | Explain the importance of energy conservation in thermal utilities. Discuss various methods for improving energy efficiency. | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Explain energy codes, standards and legislation in India. Discuss their role in promoting energy efficiency and conservation. | Understand | 6 | 8M |
|  | (b) |  |  | Explain the time value of money concept and discuss its importance in energy economic analysis. | Understand | 5 | 6M |

*********