(Autonomous Batch)

SEMESTER END SUPPLEMENTARY EXAMINATIONS (AR21), SEPT. – 2026

| Degree | B.Tech. | Program | Common to All |
| --- | --- | --- | --- |
| Academic Year | 2026-2027 | Semester | 6th |
| Course Code | 21EE002 | Course Title | Renewable Energy Sources |
| Duration | 3 Hours | Max. Marks | 70 (Seventy) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | CO |
| --- | --- | --- | --- |
| a | Define solar constant. | Remember | 1 |
| b | List the basic components of wind energy conversion system. | Remember | 1 |
| c | Name the two different methods for harnessing ocean thermal energy. | Remember | 3 |
| d | Write any two advantages of MHD systems. | Remember | 3 |
| e | List the applications of solar energy. | Remember | 4 |
| f | List out the fuel cell systems | Remember | 4 |
| g | Define Micro grid | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | CO | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | List different types of solar energy collectors. Explain in detail any two types. | Understand | 1 | 8M |
|  |  | (b) |  | Determine the local solar time and declination at a location latitude 23°15′ N, longitude 77°30′ E at 12.30 IST on June 19. Equation of time correction is given from standard table to be = – (1′ 01′′). | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain the PV cell model and characteristics. | Understand | 1 | 8M |
|  |  | (b) |  | Explain maximum power tracking for photovoltaic power systems with neat sketch. | Understand | 2 | 6M |
| 4 |  | (a) |  | Prove that maximum power can be obtained when interference factor is 1/3 in case of horizontal axis wind turbine. | Understand | 3 | 8M |
|  |  | (b) |  | List the advantages and disadvantages of vertical axis wind mills over horizontal type. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Explain in detail about anaerobic digestion and the different phases and the processes involved in it. |  | Understand | 3 | 8M |
|  |  | (b) | Explain the operation of IC engine working on biogas. |  | Understand | 2 | 6M |
| 6 |  | (a) | Explain in brief the methods of harnessing geothermal energy in geothermal power plants. |  | Understand | 4 | 8M |
|  |  | (b) | Write the limitations of a flashed steam system and the advantages of double flash system. |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Explain the basic principle of OTEC. Discuss the advantages of the closed cycle system over open cycle system | Understand | 4 | 8M |
|  |  | (b) |  | List the different wave energy devices. Explain any one device used for wave energy conversion in detail. | Understand | 5 | 6M |
| 8 |  | (a) |  | List the limitations of direct energy conversions. | Understand | 6 | 8M |
|  |  | (b) |  | Discuss the principle of MHD generation with a neat sketch. | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Explain in detail about H2-O2 fuel cell. | Understand | 6 | 8M |
|  | (b) |  |  | List the different battery energy storage systems. Explain in detail. | Understand | 5 | 6M |

*********